## Alat Biologi 2023
HARGA ALAT-ALAT LABORATORIUM BIOLOGI TAHUN 2023
PT. DASA LAB INDONESIA
Jl. Pratekan No. 44A RT/RW. 06/03
Kec. Pulogadung, Jakarta Timur 13220
Telp. 021-2984 7179 ¦ Fax. 021-2984 7179
Email : dasalabindonesia@gmail.com
Web : dasalabindonesia.com
DAFTAR ALAT LABORATORIUM PRAKTIKUM BIOLOGI
No | DAFTAR ALAT LABORATORIUM PRAKTIKUM Biologi | SATUAN |  | KEBUTUHAN
1 | Alat Pengukur Kadar Darah 3 In 1 ET (Gula, Kolesterol, Asam Urat) | 1 | set
2 | Alat Pengukur Kadar Darah 3 In 1 AUT (Gula, Kolesterol, Asam Urat) | 1 | set
3 | Alat Pengukur Kadar Darah 3 In 1 NC (Gula, Kolesterol, Asam Urat) | 1 | set
4 | Alat Uji Golongan Darah (Serum,Lancing, Pen Lancet,Kartu, Alc Swab) | 1 | set
5 | Alat Ukur Tekanan Akar/Root Pressure Apparatus | 1 | pcs
6 | Alat Ukur Tinggi Badan/Statur Meter | 1 | pcs
7 | Alkohol Swab | 1 | box
8 | Aquarium Kaca 60 X 30 X 36 | 1 | pcs
9 | Aquarium Kecil Dan Tutup S : 30 X 20 X 17 cm | 1 | pcs
10 | Atmometer | 1 | pcs
11 | Audus Photosynthesis | 1 | pcs
12 | Autoclave Listrik RC | 1 | pcs
13 | Baki Bedah Alumunium 20 X 25 cm | 1 | pcs
14 | Baki Bedah Kayu 30 X 40 cm | 1 | pcs
15 | Baki Bedah Kayu 30 X 50 cm | 1 | pcs
16 | Bed Uks 60 x 180 Cm ( Tempat Tidur UKS Kecil) | 1 | pcs
17 | Bed Uks 90 x 185 Cm (Tempat tidur UKS Besar ) | 1 | pcs
18 | Bed Uks 1 Crank 90 x 200 Cm ( Tempat Tidur UKS ) | 1 | pcs
19 | Bed Uks 2 Crank 90 x 200 Cm ( Tempat Tidur UKS ) | 1 | pcs
20 | Blood Lancet Isi 100 Pcs | 1 | box
21 | Blood Lancet Isi 200 Pcs | 1 | pcs
22 | Botol Kaca Coklat 30 ml + Tutup | 1 | pcs
23 | Botol Kaca Coklat 60 ml + Tutup | 1 | pcs
24 | Botol Kaca Coklat 100 ml | 1 | pcs
25 | Botol Kaca Coklat 250 ml | 1 | pcs
26 | Botol Kaca Coklat 1000 ml | 1 | pcs
27 | Botol Kaca Coklat 2500 ml | 1 | pcs
28 | Botol Kaca coklat Pipet 30 ml | 1 | pcs
29 | Botol Kaca Coklat Pipet 60 ml | 1 | pcs
30 | Botol Kaca Coklat Pipet 100 ml | 1 | pcs
31 | Botol Reagen Bening M.Besar Tutup Kaca 125 ml | 1 | pcs
32 | Botol Reagen Bening M.Besar Tutup Kaca 250 ml | 1 | pcs
33 | Botol Reagen Bening M.Besar Tutup Kaca 500 ml | 1 | pcs
34 | Botol Reagen Bening M.Kecil Tutup Kaca 125 ml | 1 | pcs
35 | Botol Reagen Bening M.Kecil Tutup Kaca 250 ml | 1 | pcs
36 | Botol Reagen Coklat M.Besar Tutup Kaca 125 ml | 1 | pcs
37 | Botol Reagen Coklat M.Besar Tutup Kaca 250 ml | 1 | pcs
38 | Botol Reagen Coklat M.Besar Tutup Kaca 500 ml | 1 | pcs
39 | Botol Reagen Coklat M.Besar Tutup Kaca 1000 ml | 1 | pcs
40 | Botol Plastik Natural Tutup Kecil 100 ml | 1 | pcs
41 | Botol Plastik Natural Tutup Kecil 250 ml | 1 | pcs
42 | Botol Plastik Natural Tutup Kecil 500 ml | 1 | pcs
43 | Botol Plastik Natural Tutup Kecil 1000 ml | 1 | pcs
44 | Botol Plastik Tutup Besar 500 gr | 1 | pcs
45 | Botol Plastik Tutup Besar 1000 gr | 1 | pcs
46 | Botol Semprot 500 ml | 1 | pcs
47 | Batang Pengaduk Kaca ( Spatula Kaca )Dia 5 Mm 15 cm | 1 | pcs
48 | Batang Pengaduk Kaca ( Spatula Kaca ) Dia 5 Mm 20 cm | 1 | pcs
49 | Batang Pengaduk Kaca ( Spatula Kaca ) Dia 5 Mm 25 cm | 1 | pcs
50 | Batang Pengaduk Kaca ( Spatula Kaca )Dia 10 Mm 20 cm | 1 | pcs
51 | Batang Pengaduk Kaca ( Spatula Kaca )Dia 10 Mm 25 cm | 1 | pcs
52 | Batang Pengaduk Stainless ( Spatula Stainless )Dia 5 Mm 15 cm | 1 | pcs
53 | Batang Pengaduk Stainless ( Spatula Stainless ) Dia 5 Mm 20 cm | 1 | pcs
54 | Batang Pengaduk Stainless ( Spatula Stainless ) Dia 5 Mm 25 cm | 1 | pcs
55 | Batang Pengaduk Porselen( Spatula Porselen ) | 1 | pcs
56 | Batang Pengaduk Tanduk ( Spatula Tanduk ) | 1 | pcs
57 | Carta - Alat Indra Manusia | 1 | lbr
58 | Carta - Bentuk - bentuk Virus | 1 | lbr
59 | Carta - DNA Dan RNA | 1 | lbr
60 | Carta - Hukum Mendel | 1 | lbr
61 | Carta - Interaksi Makhluk Hidup | 1 | lbr
62 | Carta - Jenis-Jenis Bakteri | 1 | lbr
63 | Carta - Macam-macam Bunga | 1 | lbr
64 | Carta - Makhluk Hidup dan Proses Kehidupan | 1 | lbr
65 | Carta - Matahari dan Gerhana Matahari | 1 | lbr
66 | Carta - Metamorfosis | 1 | lbr
67 | Carta - Organisasi Kehidupan | 1 | lbr
68 | Carta - Kerangka Manusia | 1 | lbr
69 | Carta - Otot Manusia | 1 | lbr
70 | Carta - Pembuahan Ganda pada Angiospermae | 1 | lbr
71 | Carta - Pencernaan Manusia | 1 | lbr
72 | Carta - Penyerbukan Dan Pembuahan | 1 | lbr
73 | Carta - Peredaran Darah Manusia | 1 | lbr
74 | Carta - Perkembangbiakan Generatif Hewan | 1 | lbr
75 | Carta - Perkembangbiakan Vegetatif Tumbuhan | 1 | lbr
76 | Carta - Penyakit dan Kelainan Tulang | 1 | lbr
77 | Carta - Struktur Tulang dan Sendi | 1 | lbr
78 | Carta - Pernapasan Manusia | 1 | lbr
79 | Carta - Perubahan dan Aliran Energi | 1 | lbr
80 | Carta - Pertumbuhan Dan Perkembangan Manusia | 1 | lbr
81 | Carta - Siklus Hidup Tumbuhan Paku dan Lumut | 1 | lbr
82 | Carta - Reproduksi Manusia | 1 | lbr
83 | Carta - Sistem Ekskresi Manusia | 1 | lbr
84 | Carta - Sistem Syaraf Manusia | 1 | lbr
85 | Carta - Contoh Hewan Dari Berbagai Filum | 1 | lbr
86 | Carta - Contoh Tumbuhan Dari Berbagai Divisi | 1 | lbr
87 | Carta - Anatomi Tubuh Manusia | 1 | lbr
88 | Carta - Daur Hidup Katak | 1 | lbr
89 | Carta - Habitat tumbuhan di Bumi | 1 | lbr
90 | Carta Poster Serangga | 1 | lbr
91 | Carta - Hewan Belalang | 1 | lbr
92 | Carta - Hewan Capung | 1 | lbr
93 | Carta - Hewan Jangkrik | 1 | lbr
94 | Carta - Hewan Kecoa | 1 | lbr
95 | Carta - Kromosom | 1 | lbr
96 | Carta - Pohon Evolusi | 1 | lbr
97 | Carta - Anatomi Kulit A3 | 1 | lbr
98 | Carta - Anatomi Mata A3 | 1 | lbr
99 | Carta - Anatomi Telinga A3 | 1 | lbr
100 | Carta - Jaringan Tumbuhan | 1 | lbr
101 | Carta - Sistem Ekskresi Hewan (Set Isi 5 Lbr) | 1 | set
102 | Carta - Sistem Ekskresi Hewan - Amphibi | 1 | lbr
103 | Carta - Sistem Ekskresi Hewan - Burung | 1 | lbr
104 | Carta - Sistem Ekskresi Hewan - Cacing Tanah | 1 | lbr
105 | Carta - Sistem Ekskresi Hewan - Ikan | 1 | lbr
106 | Carta - Sistem Ekskresi Hewan - Reptil | 1 | lbr
107 | Carta - Sistem Pencernaan hewan (Set isi 5) | 1 | set
108 | Carta - Sistem Pencernaan Hewan - Burung | 1 | lbr
109 | Carta - Sistem Pencernaan Hewan - Ikan | 1 | lbr
110 | Carta - Sistem Pencernaan Hewan - Reptil | 1 | lbr
112 | Carta - Sistem Pernapasan Hewan (Set Isi 5 Lbr) | 1 | set
113 | Carta - Sistem Pernafasan Hewan - Burung | 1 | lbr
114.3 | Carta - Sistem Pernapasan Hewan - Ikan | 1 | lbr
115.4 | Carta - Sistem Pernapasan Hewan - Reptil | 1 | lbr
116.55 | Carta - Sistem Reproduksi Hewan (Set Isi 5 Lbr) | 1 | set
117.7 | Carta - Sistem Reproduksi Hewan - Amphibi | 1 | lbr
118.85 | Carta - Sistem Reproduksi Hewan - Burung | 1 | lbr
120 | Carta - Sistem Reproduksi Hewan - Cacing Tanah | 1 | lbr
121.15 | Carta - Sistem Reproduksi Hewan - Ikan | 1 | lbr
122.3 | Carta - Sistem Transportasi/Peredaran darah Hewan (Set Isi 5 Lbr) | 1 | set
123.45 | Carta - Sistem Transportasi/Peredaran darah Hewan - Cacing Tanah | 1 | lbr
124.6 | Carta - Sistem Transportasi/Peredaran darah Hewan - Reptil | 1 | lbr
125.75 | Carta - Sistem Transportasi/Peredaran Darah Hewan - Burung | 1 | lbr
126.9 | Carta - Sistem Syaraf (Koordinasi) Hewan (Set Isi 5) | 1 | set
128.05 | Carta - Sistem Syaraf Hewan - Burung | 1 | lbr
129.2 | Carta - Sistem Syaraf Hewan - Amphibi | 1 | lbr
130.35 | Carta - Sistem Syaraf Hewan - Cacing Tanah | 1 | lbr
131.5 | Carta - Sistem Syaraf Hewan - Ikan | 1 | lbr
132.65 | Carta - Sistem Syaraf Hewan - Reptil | 1 | lbr
133.8 | Carta - Struktur Sel Hewan dan Tumbuhan | 1 | lbr
134.95 | Carta - Biologi Set isi 16 lbr | 1 | set
136.1 | Carta - Tahapan Perkembangan Manusia (SSN) | 1 | set
137.25 | Carta - Zat Psikotropika | 1 | lbr
138.4 | Cawan Petri Kaca 100 mm RC | 1 | pasang
139.55 | Cawan Petri Kaca 100 mm Marinfield Germany | 1 | pasang
140.7 | Cawan Uap Porselen vol 60 ml | 1 | pcs
141.85 | Cawan Uap Porselen vol 75 ml | 1 | pcs
143 | Cawan Uap Porselen vol 100 ml | 1 | pcs
144.15 | Cawan Uap Porselen vol 125 ml | 1 | pcs
145.3 | Centrifuge Hand 2 Tabung | 1 | pcs
146.45 | Centrifuge Hand 4 Tabung | 1 | pcs
147.6 | Centrifuge Elektrik 6 Tabung | 1 | pcs
148.75 | Corong Kaca 5 cm Pyrex | 1 | pcs
149.9 | Corong Kaca 7,5 cm Pyrex | 1 | pcs
151.05 | Corong Kaca 10 cm Pyrex | 1 | pcs
152.2 | Corong Kaca RC 5 cm | 1 | pcs
153.35 | Corong Kaca RC 7,5 cm | 1 | pcs
154.5 | Corong Kaca RC 9 cm | 1 | pcs
155.65 | Corong Kaca RC 10 cm | 1 | pcs
156.8 | Corong Pisah 100 ml Pyrex | 1 | pcs
157.95 | Corong Pisah 125 ml Pyrex | 1 | pcs
159.1 | Corong Pisah 250 ml Pyrex | 1 | pcs
160.25 | Corong Pisah 500 ml Pyrex | 1 | pcs
161.4 | Corong Pisah RC 125 ml | 1 | pcs
162.55 | Corong Pisah RC 250 ml | 1 | pcs
163.7 | Corong Pisah RC 500 ml | 1 | pcs
164.85 | Crus porselen RRC 15 ml | 1 | pcs
166 | Crus porselen RRC 30 ml | 1 | pcs
167.15 | Crusible Tong 25 cm - Stainless | 1 | pcs
168.3 | Fotometer | 1 | pcs
169.45 | Gelas Ukur 5 ml Pyrex | 1 | pcs
170.6 | Gelas Ukur 10 ml Pyrex | 1 | pcs
171.75 | Gelas Ukur 25 ml Pyrex | 1 | pcs
172.9 | Gelas Ukur 50 ml Pyrex | 1 | pcs
174.05 | Gelas Ukur 100 ml Pyrex | 1 | pcs
175.2 | Gelas Ukur 250 ml Pyrex | 1 | pcs
176.35 | Gelas Ukur 500 ml Pyrex | 1 | pcs
177.5 | Gelas Ukur 1000 ml Pyrex | 1 | pcs
178.65 | Gelas Ukur RC - 5 ml | 1 | pcs
179.8 | Gelas Ukur RC - 10 ml | 1 | pcs
180.95 | Gelas Ukur RC - 25 ml | 1 | pcs
182.1 | Gelas Ukur RC - 50 ml | 1 | pcs
183.25 | Gelas Ukur RC - 100 ml | 1 | pcs
184.4 | Gelas Ukur RC - 250 ml | 1 | pcs
185.55 | Gelas Ukur RC - 500 ml | 1 | pcs
186.7 | Gelas Ukur RC - 1000 ml | 1 | pcs
187.85 | Gelas Ukur 10 ml ( Iwaki ) | 1 | pcs
189 | Gelas Ukur 25 ml ( Iwaki ) | 1 | pcs
190.15 | Gelas Ukur 50 ml ( Iwaki ) | 1 | pcs
191.3 | Gelas Ukur 100 ml ( Iwaki ) | 1 | pcs
192.45 | Gelas Ukur 250 ml ( Iwaki ) | 1 | pcs
193.6 | Gelas Ukur Berpancur 100 ml ( Pyrex ) | 1 | pcs
194.75 | Gelas Ukur Berpancur 250 ml ( Pyrex ) | 1 | pcs
195.9 | Gelas Ukur Plastik germany 250 ml | 1 | pcs
197.05 | Gelas- Beaker Glass/Gelas Kimia 25 ml Pyrex | 1 | pcs
198.2 | Gelas - Beaker Glass/Gelas Kimia 50 ml Pyrex | 1 | pcs
199.35 | Gelas- Beaker Glass/Gelas Kimia 100 ml Pyrex | 1 | pcs
200.5 | Gelas- Beaker Glass/Gelas Kimia 125 ml Pyrex | 1 | pcs
201.65 | Gelas- Beaker Glass/Gelas Kimia 150 ml Pyrex | 1 | pcs
202.8 | Gelas- Beaker Glass/Gelas Kimia 250 ml Pyrex | 1 | pcs
203.95 | Gelas- Beaker Glass/Gelas Kimia 500 ml Pyrex | 1 | pcs
205.1 | Gelas- Beaker Glass/Gelas Kimia 1000 ml Pyrex | 1 | pcs
206.25 | Gelas- Beaker Glass/Gelas Kimia 2000 ml Pyrex | 1 | pcs
207.4 | Gelas - Beaker Glass/Gelas Kimia RC - 50 ml | 1 | pcs
208.55 | Gelas - Beaker Glass/Gelas Kimia RC - 100 ml | 1 | pcs
209.7 | Gelas - Beaker Glass/Gelas Kimia RC - 150 ml | 1 | pcs
210.85 | Gelas - Beaker Glass/Gelas Kimia RC - 250 ml | 1 | pcs
212 | Gelas - Beaker Glass/Gelas Kimia RC - 500 ml | 1 | pcs
213.15 | Gelas - Beaker Glass/Gelas Kimia RC - 600 ml | 1 | pcs
214.3 | Gelas - Beaker Glass/Gelas Kimia RC - 1000 ml | 1 | pcs
215.45 | Gelas - Beaker Glass/Gelas Kimia RC - 2000 ml | 1 | pcs
216.6 | Gelas - Beaker Glass 50 ml (Iwaki ) | 1 | pcs
217.75 | Gelas - Beaker Glass 100 ml (Iwaki ) | 1 | pcs
218.9 | Gelas - Beaker Glass 150 ml (Iwaki ) | 1 | pcs
220.05 | Gelas - Beaker Glass 250 ml (Iwaki ) | 1 | pcs
221.2 | Gelas - Beaker Glass 300 ml (Iwaki ) | 1 | pcs
222.35 | Gelas - Beaker Glass 500 ml (Iwaki ) | 1 | pcs
223.5 | Gelas - Beaker Glass 1000 ml (Iwaki ) | 1 | pcs
224.65 | Gelas - Beaker Glass 100 ml (Germany ) | 1 | pcs
225.8 | Gelas - Beaker Glass 250 ml (Germany ) | 1 | pcs
226.95 | Gelas - Beaker Glass 500 ml (Germany ) | 1 | pcs
228.1 | Gelas - Beaker Glass 1000 ml (Germany ) | 1 | pcs
229.25 | Gelas Erlenmeyer 50 ml Pyrex | 1 | pcs
230.4 | Gelas Erlenmeyer 100 ml Pyrex | 1 | pcs
231.55 | Gelas Erlenmeyer 125 ml Pyrex | 1 | pcs
232.7 | Gelas Erlenmeyer 250 ml Pyrex | 1 | pcs
233.85 | Gelas Erlenmeyer 500 ml Pyrex | 1 | pcs
235 | Gelas Erlenmeyer 1000 ml Pyrex | 1 | pcs
236.15 | Gelas Erlenmeyer 100 ml (Pyrex) + Sumbat | 1 | pcs
237.3 | Gelas Erlenmeyer 250 ml (Pyrex) + Sumbat | 1 | pcs
238.45 | Gelas Erlenmeyer 500 ml (Pyrex) + Sumbat | 1 | pcs
239.6 | Gelas Erlenmeyer 1000 ml (Pyrex) + Sumbat | 1 | pcs
240.75 | Gelas Erlenmeyer RC- 50 ml | 1 | pcs
241.9 | Gelas Erlenmeyer RC- 100 ml | 1 | pcs
243.05 | Gelas Erlenmeyer RC -125 ml | 1 | pcs
244.2 | Gelas Erlenmeyer RC- 250 ml | 1 | pcs
245.35 | Gelas Erlenmeyer RC- 500 ml | 1 | pcs
246.5 | Gelas Erlenmeyer RC - 1000 ml | 1 | pcs
247.65 | Genre Kit | 1 | pcs
248.8 | Gunting Bedah Anatomi Tajam | 1 | pcs
249.95 | Gunting Anatomi Tumpul | 1 | pcs
251.1 | Hand Microtome | 1 | pcs
252.25 | Hand Microtome Exclusive + Razor | 1 | pcs
253.4 | Hygrometer Digital Dry And Wet | 1 | pcs
254.55 | Hygrometer Analog JP Dry And Wet | 1 | pcs
255.7 | Indikator Universal Ph 0-14 (100 Pcs) | 1 | pak
256.85 | Insektarium/ Kandang Serangga | 1 | pcs
258 | Jala Plankton | 1 | pcs
259.15 | Jala Serangga | 1 | pcs
260.3 | Jarum Bedah | 1 | lsn
261.45 | Jas Lab Pendek | 1 | pcs
262.6 | Jas Lab Panjang | 1 | pcs
263.75 | Kaca Arloji Dia 75 Mm | 1 | pcs
264.9 | Kaca Arloji Dia 80 Mm | 1 | pcs
266.05 | Kaca Arloji Dia 100 Mm | 1 | pcs
267.2 | Kaca Arloji Dia 150 Mm | 1 | pcs
268.35 | Kaca Benda / Objek Glass (Isi 50) | 1 | pak
269.5 | Kaca Benda /Objek Glass Isi 72 | 1 | pak
270.65 | Kaca/Cover Glass 18 X 18 mm Germany (Superior) Isi 100 Pc/pak | 1 | pak
271.8 | Kaca/Cover Glass 22 X 22 mm Germany (Superior) Isi 100 pc/pak | 1 | pak
272.95 | Kaca/cover Glass 18 X 18 mm Marienfield Isi 100 Pc/pak | 1 | pak
274.1 | Kaca/cover Glass 22 X 22 mm Marienfield Isi 100 Pc/pak | 1 | pak
275.25 | Kaca Benda Kultur Mikro Cekung Isi 72 | 1 | pcs
276.4 | Kaca Pembesar/Loupe Dia. 5 cm | 1 | pcs
277.55 | Kaca Pembesar/Loupe Dia. 6 cm | 1 | pcs
278.7 | Kaca Pembesar/Loupe Dia. 7,5 cm | 1 | pcs
279.85 | Kaca Pembesar/Loupe Dia. 9 cm | 1 | pcs
281 | Kaca Pembesar 40 X + Dengan Lampu | 1 | pcs
282.15 | Kacamata Lab | 1 | pcs
283.3 | Kacamata Google - Full Closed (Plastik - Karet) | 1 | pcs
284.45 | Kaki Tiga 15 cm ( Besi ) | 1 | pcs
285.6 | Kaki Tiga 12 cm (Chrome ) | 1 | pcs
286.75 | Kaki Tiga Chrome + Kassa | 1 | pcs
287.9 | Kawat Kasa | 1 | pcs
289.05 | Kancing Genetika | 1 | pcs
290.2 | Kapas 25 gr | 1 | glg
291.35 | Kapas 50 gr | 1 | glg
292.5 | Kapas 100 gr | 1 | glg
293.65 | Kapas 250 gr | 1 | glg
294.8 | Kapas 500 gr | 1 | glg
295.95 | Kartu Golongan Darah Isi 100 Pcs | 1 | pak
297.1 | Kartu Hewan, set isi 50 lembar | 1 | pak
298.25 | Kartu Tumbuhan, set isi 50 lembar | 1 | pak
299.4 | Kertas Saring 10 cm @ 50 Lbr | 1 | bks
300.55 | Kertas Saring 10 cm @ 100 Lbr | 1 | bks
301.7 | Kertas Saring 50X50 Jepang Perlbr | 1 | lbr
302.85 | Kit Pernapasan/Respirasi | 1 | Set
304 | Kit Pencernaan | 1 | Set
305.15 | Kit Uji Bahan Makanan | 1 | Set
306.3 | Klem Bosshead | 1 | pcs
307.45 | Klem Bosshead Chrome | 1 | pcs
308.6 | Klem Universal Crom | 1 | pcs
309.75 | Klem Buret Single Besi | 1 | pcs
310.9 | Klem Buret - Double Besi | 1 | pcs
312.05 | Kotak P3K Kecil + Obat | 1 | set
313.2 | Kotak P3K Besar | 1 | pcs
314.35 | Kotak P3K Besar Tempel + obat-obatan | 1 | set
315.5 | Kotak Preparat Kayu (20 Slide) | 1 | pcs
316.65 | Kotak Preparat Kayu (30 Slide) | 1 | pcs
317.8 | Kotak Preparat - Plastik ( 100 Slide ) | 1 | pcs
318.95 | Labox Kit Anatomi Tubuh | 1 | Set
320.1 | Labu Ukur/Takar 10 ml Pyrex | 1 | pcs
321.25 | Labu Ukur/Takar 50 ml Pyrex | 1 | pcs
322.4 | Labu Ukur/Takar 100 ml Pyrex | 1 | pcs
323.55 | Labu Ukur/Takar 250 ml Pyrex | 1 | pcs
324.7 | Labu Ukur/Takar 500 ml Pyrex | 1 | pcs
325.85 | Labu Ukur/Takar 1000 ml Pyrex | 1 | pcs
327 | Labu Ukur/Takar 2000 ml Pyrex | 1 | pcs
328.15 | Labu Ukur/Takar RC 25 ml | 1 | pcs
329.3 | Labu Ukur/Takar RC 50 ml | 1 | pcs
330.45 | Labu Ukur/Takar RC 100 ml | 1 | pcs
331.6 | Labu Ukur/Takar RC 250 ml | 1 | pcs
332.75 | Labu Ukur/Takar RC 500 ml | 1 | pcs
333.9 | Labu Ukur/Takar RC 1000 ml | 1 | pcs
335.05 | Kuadrat Lipat | 1 | pcs
336.2 | Bochlamp mikroskop | 1 | pcs
337.35 | Lampu Mikroskop 1 set | 1 | set
338.5 | Lensa Objective 4 X | 1 | pcs
339.65 | Lensa Objective 10 X | 1 | pcs
340.8 | Lensa Objective 40 X | 1 | pcs
341.95 | Lensa Objective 100 X | 1 | pcs
343.1 | Lensa Okuler 12,5 X | 1 | pcs
344.25 | Lumpang Alu/Mortar Dia 8 cm | 1 | pcs
345.4 | Lumpang Alu/Mortar Dia 10 cm | 1 | pcs
346.55 | Lumpang Alu/Mortar Dia 13 cm | 1 | pcs
347.7 | Lumpang Alu/Mortar Dia 15 cm | 1 | pcs
348.85 | Micropipet 0.1 sd 2.5 micron | 1 | pcs
350 | Micropipet 0.5 sd 10 micron | 1 | pcs
351.15 | Micropipet 2 sd 20 micron | 1 | pcs
352.3 | Micropipet 5 sd 50 micron | 1 | pcs
353.45 | Micropipet 10 sd 100 micron | 1 | pcs
354.6 | Micropipet 20 sd 200 micron | 1 | pcs
355.75 | Micropipet 100 sd 1000 micron | 1 | pcs
356.9 | Micropipet 1000 sd 5000 micron | 1 | pcs
358.05 | Micropipet 2 sd 10 ml | 1 | pcs
359.2 | Masker Gas Respiratory + Catridge Single | 1 | Set
360.35 | Masker Gas Respiratory + Catridge Double | 1 | Set
361.5 | Masker Duckbill (1 Box 50 pcs) KDP Sensa | 1 | Box
362.65 | Masker KF94 (1 Box:20 Pcs) KDP Sensa | 1 | Box
363.8 | Masker KN95 (Box isi 20) | 1 | Box
364.95 | Masker Sensa Earloop isi 50 Pcs | 1 | Box
366.1 | Masker Sensa Headloop Hijab isi 50 Pcs | 1 | Box
367.25 | Micrometer Digital | 1 | pcs
368.4 | Mikroskop Monokuler 500 X (Xsp-12 ) | 1 | pcs
369.55 | Mikroskop Stereo XT-2A | 1 | pcs
370.7 | Mikroskop Monokuler Elektrik 1250 X , XSP - 13AE Box Plastik | 1 | pcs
371.85 | Mikroskop Binokular Elektrik 1600 X. XSZ - 107Bn | 1 | set
373 | Mikroskop Monokuler Digital Me-2500 With Lcd Tv | 1 | set
374.15 | Mikroskop Monokuler Digital Me-2500 S With Lcd Tv | 1 | set
375.3 | Mikroskop Trinokuler Digital Te-2500 With Lcd Tv | 1 | set
376.45 | Model Akar Batang Daun | 1 | pcs
377.6 | Model Anatomi phantom Otot Manusia | 1 | pcs
378.75 | Model Ayam | 1 | pcs
379.9 | Model Belalang | 1 | pcs
381.05 | Model Buaya | 1 | pcs
382.2 | Model Gigi Besar Sepasang | 1 | pcs
383.35 | Model Gigi Manusia import RC | 1 | pcs
384.5 | Model Ginjal Manusia | 1 | pcs
385.65 | Model Hati Dan Ginjal Manusia | 1 | pcs
386.8 | Model Hati Manusia | 1 | pcs
387.95 | Model Hidung | 1 | pcs
389.1 | Model Mata Manusia RC import | 1 | pcs
390.25 | Model Ikan | 1 | pcs
391.4 | Model Jakun Manusia | 1 | pcs
392.55 | Model Jantung Manusia | 1 | pcs
393.7 | Model Katak | 1 | set
394.85 | Model Kepala dan Otak Manusia | 1 | pcs
396 | Model Kerangka Manusia | 1 | pcs
397.15 | Model Kerangka Mini Lk Dan Dus | 1 | set
398.3 | Model Kuda | 1 | pcs
399.45 | Model Kulit Manusia | 1 | pcs
400.6 | Model Lambung Manusia | 1 | pcs
401.75 | Model Mata Manusia lokal | 1 | pcs
402.9 | Model Organ Vital Pria | 1 | pcs
404.05 | Model Organ Vital Wanita | 1 | pcs
405.2 | Model Otak Manusia | 1 | pcs
406.35 | Model Paru-Paru Manusia | 1 | pcs
407.5 | Model Penampang Lidah Manusia | 1 | pcs
408.65 | Model Penampang Pencernaan Manusia | 1 | pcs
409.8 | Model Perkembangan Janin Manusia Exclusive RC | 1 | pcs
410.95 | Model Pigura Ekskresi Manusia | 1 | pcs
412.1 | Model Pigura Pernapasan Manusia | 1 | pcs
413.25 | Model Pigura Syaraf | 1 | pcs
414.4 | Model Reproduksi Pria | 1 | pcs
415.55 | Model Putik dan Penyerbukan | 1 | Pcs
416.7 | Model Reproduksi Wanita | 1 | pcs
417.85 | Model Sapi | 1 | pcs
419 | Model Sistem Peredaran Darah Manusia | 1 | pcs
420.15 | Model Telinga Manusia | 1 | pcs
421.3 | Model Torso Dwifungsi | 1 | pcs
422.45 | Model Torso Mayat (Manikin ) | 1 | pcs
423.6 | Model Torso Pria | 1 | pcs
424.75 | Model Torso Satu Tubuh | 1 | pcs
425.9 | Model Torso Wanita | 1 | pcs
427.05 | Model Urogenital Pria | 1 | Set
428.2 | Model Urogenital Wanita | 1 | set
429.35 | Model Uterus silikon | 1 | pcs
430.5 | Model Gigi Exclusive Germany Import | 1 | pcs
431.65 | Model Jantung Exclusive Germany import | 1 | pcs
432.8 | Model Otak exclusive Germany import | 1 | pcs
433.95 | Model Mata germany exclusive | 1 | pcs
435.1 | Model Rangka Exclusive RC | 1 | pcs
436.25 | Model Alat Saluran Pencernaan ( Germany ) | 1 | pcs
437.4 | Model Kulit (German) | 1 | pcs
438.55 | Model Lengan ( Germany ) | 1 | pcs
439.7 | Model Pembuluh Darah (German) | 1 | pcs
440.85 | Neraca empat lengan 311 Analog | 1 | Pcs
442 | Neraca Analitik HWH Dj1002C / Dj602C | 1 | Unit
443.15 | Neraca Inersia | 1 | Unit
444.3 | Neraca Digital, Ohaus Type CR 221 Ketelitian 0,1 gr | 1 | Unit
445.45 | Neraca Digital, Ohaus Type NV 622 Ketelitian 0,1 gr | 1 | Unit
446.6 | Neraca Digital, Ohaus Type CR 2200 Ketelitian 1 gr | 1 | Unit
447.75 | Neraca Digital, Ohaus Type CR 5000 Ketelitian 1 gr | 1 | Unit
448.9 | Neraca Digital, Ohaus Type SPX 222 Ketelitian 0,01 gr | 1 | Unit
450.05 | Neraca Digital, Ohaus Type NV 222 Ketelitian 0,01 gr | 1 | Unit
451.2 | Neraca Digital, Ohaus Type SPX 223 Ketelitian 0,001 gr | 1 | Unit
452.35 | Neraca Digital, Ohaus Type pionir Px 163/E Ketelitian 0,001 gr | 1 | Unit
453.5 | Neraca Digital, Ohaus Type pionir Px 423/E Ketelitian 0,001 gr | 1 | Unit
454.65 | Neraca Digital, Ohaus Type pionir Px 523/E Ketelitian 0,001 gr | 1 | Unit
455.8 | Neraca Analitik Fujitsu Fs-Ar 200 gr/0,0001 gr | 1 | Unit
456.95 | Neraca Digital PS 28 (Neraca Pocket) | 1 | Unit
458.1 | Neraca tiga lengan MB 2610 - RRC | 1 | Unit
459.25 | Ose Kaca / Kawat Nikrom Bertangkai ujung lurus | 1 | pcs
460.4 | Ose Kaca / Kawat Nikrom Bertangkai ujung bengkok | 1 | pcs
461.55 | Osmometer | 1 | pcs
462.7 | Palu Reflex | 1 | pcs
463.85 | Pembersih Mikroskop/Kit Pemeliharaan Mikroskop | 1 | pcs
465 | Pen Lanset ( Lancing Device Transparent Head) | 1 | pcs
466.15 | Penjepit Tabung Reaksi kayu | 1 | pcs
467.3 | Penjepit Tabung Reaksi kawat | 1 | pcs
468.45 | Perangkat Bedah Hewan - Dompet | 1 | pcs
469.6 | Ph Meter Digital KDP 01 | 1 | pcs
470.75 | PH Meter Digital KDP 02 | 1 | pcs
471.9 | Ph Meter Analog 3SS in 1 (Kelembapan,suhu,keasaman) | 1 | pcs
473.05 | Ph Meter Digital 4SS in 1 (Kelembapan,suhu,keasaman,tekstur) | 1 | pcs
474.2 | Pembakar Spirtus 150 ml ( Bunsen ) | 1 | pcs
475.35 | Pembakar Spirtus 250 ml ( Bunsen ) | 1 | pcs
476.5 | Pembakar Spirtus Logam 80 ml ( Bunsen ) | 1 | pcs
477.65 | Pinset 3 In 1 | 1 | pcs
478.8 | Pinset Stainless | 1 | pcs
479.95 | Pinset Anatomi | 1 | pcs
481.1 | Pinset Aksion 102 B | 1 | pcs
482.25 | Pinset Bengkok Vonus | 1 | pcs
483.4 | Pipa Kaca Lurus Ukuran Sedang | 1 | pcs
484.55 | Picnometer 10 ml | 1 | pcs
485.7 | Picnometer 25 ml | 1 | pcs
486.85 | Picnometer 50 ml | 1 | pcs
488 | Pipet Filler Germany/Ball Pipet | 1 | pcs
489.15 | Pipet Volume/Gondok Hbg 5 ml | 1 | pcs
490.3 | Pipet Volume/Gondok Hbg 10 ml | 1 | pcs
491.45 | Pipet Volume/Gondok Hbg 25 ml | 1 | pcs
492.6 | Pipet Volume/Gondok Hbg 50 ml | 1 | pcs
493.75 | Pipet Volume/Gondok 5 ml Pyrex | 1 | pcs
494.9 | Pipet Volume/Gondok 10 ml Pyrex | 1 | pcs
496.05 | Pipet Volume/Gondok 25 ml Pyrex | 1 | pcs
497.2 | Pipet Volume/Gondok 50 ml Pyrex | 1 | pcs
498.35 | Pipet Volume/Gondok 100 ml pyrex | 1 | pcs
499.5 | Pipet Tetes 10 cm | 1 | pcs
500.65 | Pipet Tetes 15 cm | 1 | pcs
501.8 | Pipet Tetes 20 cm | 1 | pcs
502.95 | Pipet Tetes Plastik Berskala - Germany | 1 | pcs
504.1 | Pipet Ukur 5 ml Pyrex | 1 | pcs
505.25 | Pipet Ukur 10 ml Pyrex | 1 | pcs
506.4 | Pipet Ukur 25 ml Pyrex | 1 | pcs
507.55 | Pipet Ukur 50 ml Pyrex | 1 | pcs
508.7 | Pipet Ukur RC 5 ml | 1 | pcs
509.85 | Pipet Ukur RC 10 ml | 1 | pcs
511 | Pipet Ukur RC 25 ml | 1 | pcs
512.15 | Pipet Ukur RC 50 ml | 1 | pcs
513.3 | Plat Tetes keramik 6 Lubang | 1 | pcs
514.45 | Plat Tetes Keramik 12 Lubang | 1 | pcs
515.6 | Pisau Bedah | 1 | box
516.75 | Plastisin kecil 1 pak | 1 | pcs
517.9 | Plastisin Besar per pcs | 1 | pcs
519.05 | Plastisin besar per 500 gr | 1 | pcs
520.2 | Plastisin besar per 1 kg | 1 | pcs
521.35 | Preparat Akar Dikotil | 1 | pcs
522.5 | Preparat Akar Monokotil | 1 | pcs
523.65 | Preparat Alium Root Tip | 1 | pcs
524.8 | Preparat Amoeba | 1 | pcs
525.95 | Preparat Awetan Jaringan Epitel Silindris | 1 | pcs
527.1 | Preparat Awetan Jaringan Syaraf | 1 | pcs
528.25 | Preparat Batang Dikotil | 1 | pcs
529.4 | Preparat Batang Monokotil | 1 | pcs
530.55 | Preparat Daun Dikotil | 1 | pcs
531.7 | Preparat Daun Monokotil | 1 | pcs
532.85 | Preparat Jaringan Ikat Tulang (Tulang Keras) | 1 | pcs
534 | Preparat Jaringan Ikat Sejati | 1 | pcs
535.15 | Preparat Hydra | 1 | pcs
536.3 | Preparat Spirogira | 1 | pcs
537.45 | Preparat Jaringan Epitel Pipih | 1 | pcs
538.6 | Preparat Jaringan Otot Jantung | 1 | pcs
539.75 | Preparat Jaringan Otot Polos/Halus | 1 | pcs
540.9 | Preparat Jaringan Otot Rangka/Lurik | 1 | pcs
542.05 | Preparat Lilium Daun | 1 | pcs
543.2 | Preparat Lilium Profase Akhir | 1 | pcs
544.35 | Preparat Lilium Profase Awal | 1 | pcs
545.5 | Preparat Metaphase | 1 | pcs
546.65 | Preparat Meiosis | 1 | pcs
547.8 | Preparat Mitosis | 1 | pcs
548.95 | Preparat Organ Testis | 1 | pcs
550.1 | Preparat Organ Vagina | 1 | pcs
551.25 | Preparat Protista Hewan ( Paramecium ) | 1 | pcs
552.4 | Preparat Sel Darah Merah | 1 | pcs
553.55 | Preparat Sel Darah Putih | 1 | pcs
554.7 | Preparat Tulang Rawan | 1 | pcs
555.85 | Preparat Biologi - Set 16 | 1 | pcs
557 | Preparat Parasitologi - Set 15 | 1 | pcs
558.15 | Preparat Parasitologi ( 30 Slides ) | 1 | pcs
559.3 | Preparat Tumbuhan/Botani - Set 30 | 1 | pcs
560.45 | Preparat Hewan/Zoologi - Set 30 | 1 | pcs
561.6 | Preparat Ipa Terpadu 20 Jenis ( Smp ) | 1 | pcs
562.75 | Rak Tabung Reaksi Kayu 12 Lubang | 1 | pcs
563.9 | Rak Tabung Reaksi Kayu 12 Lubang Besar Dia. 23 mm | 1 | pcs
565.05 | Rak Tabung Reaksi Stainless - 12 Lubang | 1 | pcs
566.2 | Rak Tabung Reaksi Stainless Besar - 10 Lubang | 1 | pcs
567.35 | Razor/Pisau Preparat | 1 | pcs
568.5 | Respirometer | 1 | pcs
569.65 | Sarung Tangan Gynecology | 1 | psg
570.8 | Sarung tangan Medis @100 pcs | 1 | box
571.95 | Sarung Tangan Asam Pendek | 1 | psg
573.1 | Sarung Tangan Asam Panjang | 1 | pcs
574.25 | Serum Golongan Darah ( A,B,Ab,Rh D) | 1 | pcs
575.4 | Sikat Buret - Dia. 2 cm X 60 cm | 1 | pcs
576.55 | Sikat Buret - Dia. 2,5 cm X 60 cm | 1 | pcs
577.7 | Sikat Buret - Dia. 2,5 cm X 75 cm | 1 | pcs
578.85 | Sikat Buret - Dia. 3 cm X 100 cm | 1 | pcs
580 | Sikat Tabung Reaksi - 2,5 cm X 25 cm | 1 | pcs
581.15 | Stetoskop Analog | 1 | pcs
582.3 | Sumbat Karet 1 Lubang - Pak isi 10 ukuran @ 1 bh | 1 | pak
583.45 | Sumbat Karet 1 Lubang G 0 (10 mm) | 1 | pcs
584.6 | Sumbat Karet 1 Lubang G 3 (19 mm) | 1 | pcs
585.75 | Sumbat Karet 1 Lubang G 6,5 | 1 | pcs
586.9 | Sumbat Karet 2 Lubang - Pak isi 5 ukuran | 1 | pak
588.05 | Sumbat Karet 2 Lubang G 2 (13 mm) | 1 | pcs
589.2 | Sumbat Karet 2 Lubang G 3 (19 mm) | 1 | pcs
590.35 | Sumbat Karet 2 Lubang G 4 (21 mm) | 1 | pcs
591.5 | Sumbat Karet 2 Lubang G 6,5 | 1 | pcs
592.65 | Sumbat Karet Tanpa Lubang G 0 (10 mm) | 1 | pcs
593.8 | Sumbat Karet Tanpa Lubang G 1 | 1 | pcs
594.95 | Sumbat Karet Tanpa Lubang G 3 (19 mm) | 1 | pcs
596.1 | Sumbat Karet Tanpa Lubang G 4 (22 mm) | 1 | pcs
597.25 | Sumbat Karet Tanpa Lubang G 5 (23 mm) | 1 | pcs
598.4 | Sumbat Karet Tanpa Lubang G 6,5 | 1 | pcs
599.55 | Sumbat Gabus Dia 2 cm | 1 | pcs
600.7 | Syringe with Needle 10 ml BD | 1 | box
601.85 | Syringe with needle 3 ml Onemed | 1 | box
603 | Syringe with Needle 5 ml Onemed | 1 | box
604.15 | Syringe with Needle 10 ml Onemed | 1 | box
605.3 | Syringe with Needle 3 ml Terumo | 1 | box
606.45 | Syringe with Needle 5 ml Terumo | 1 | box
607.6 | Syringe With Needle 10 ml Terumo | 1 | box
608.75 | Statif Alas Plastik Lengkap(1 Alas+2Kaki+2Batang 25cm+1Batang 50 cm) | 1 | set
609.9 | Statif Alas Plat Besi | 1 | pcs
611.05 | Statif Batang 25 cm Polos | 1 | pcs
612.2 | Statif Batang 50 cm Polos | 1 | pcs
613.35 | Statif Batang 50 cm Baut | 1 | pcs
614.5 | Statif Batang 100 cm Baut | 1 | pcs
615.65 | Statif Alas Besi + Klem Bosshead + B Statif 50 cm | 1 | set
616.8 | Statif Alas Besi + Klem Bosshead + B Statif 100 cm | 1 | set
617.95 | Statif Lengkap (Alas besi,Batang 50 cm,Klem Universal, Bosshead) | 1 | set
619.1 | Stopwatch Digital Sportart | 1 | pcs
620.25 | Stopwatch Digital Casio Hs 3 | 1 | pcs
621.4 | Stopwatch Digital Casio Hs 70W | 1 | pcs
622.55 | Stopwatch Digital Casio Hs 80W | 1 | pcs
623.7 | Stopwatch Analog 1 Tombol 60 Detik RC Sasey | 1 | pcs
624.85 | Stopwatch Analog 1 Tombol 60 Detik Diamond | 1 | pcs
626 | Stopwatch 100 Memory, Seiko | 1 | pcs
627.15 | Stopwatch, Sewan 100 Memory | 1 | pcs
628.3 | Test Strip Blood Glucose 25 Strip, AUT | 1 | box
629.45 | Test Strip Blood Glucose Stik 25 Test, NC | 1 | box
630.6 | Test Strip Blood Glucose Stik 25 Test, ET | 1 | box
631.75 | Test Strip Uric Acid Stik 25 Test ET | 1 | box
632.9 | Test Strip Uric Acid Stik 25 Test, NC | 1 | box
634.05 | Test Strip Uric Acid 25 Strip, AUT | 1 | box
635.2 | Test Strips Haemoglobin 25 Test, ET | 1 | box
636.35 | Test Strip Cholesterol Stik 10 Test Strip, ET | 1 | box
637.5 | Test Strip Cholesterol Stik 10 Test Strip, NC | 1 | box
638.65 | Test Strip Total Cholesterol 10 Strip, AUT | 1 | box
639.8 | Tabung Pemadam Api @ 2 Kg | 1 | pcs
640.95 | Tabung Pemadam Api @ 3 Kg | 1 | pcs
642.1 | Tabung Pemadam Api @ 6 Kg | 1 | pcs
643.25 | Tabung Reaksi 15 mm x 100 mm - Pyrex | 1 | pcs
644.4 | Tabung Reaksi 16 mm X 100 mm Pyrex | 1 | pcs
645.55 | Tabung Reaksi 16 mm X 150 mm Pyrex | 1 | pcs
646.7 | Tabung Reaksi 17 mm X 100 mm Pyrex | 1 | pcs
647.85 | Tabung Reaksi 17 mm X 125 mm Pyrex | 1 | pcs
649 | Tabung Reaksi 17 mm X 150 mm Pyrex | 1 | pcs
650.15 | Tabung Reaksi 18 mm X 125 mm Pyrex | 1 | pcs
651.3 | Tabung Reaksi 18 mm X 150 mm Pyrex | 1 | pcs
652.45 | Tabung Reaksi 20 mm X 150 mm Pyrex | 1 | pcs
653.6 | Tabung Reaksi 25 mm X 200 mm (Pyrex) | 1 | pcs
654.75 | Tabung Reaksi 30 Mm X 200 Mm Pyrex | 1 | pcs
655.9 | Tabung Reaksi Polos RC 15 X 100 mm | 1 | pcs
657.05 | Tabung Reaksi Polos RC 16 X 150 mm | 1 | pcs
658.2 | Tabung Reaksi Polos RC 17 X 150 mm | 1 | pcs
659.35 | Tabung Reaksi Polos RC 25 X 150 mm | 1 | pcs
660.5 | Tabung Reaksi 16 mm X 150 mm Iwaki | 1 | pcs
661.65 | Tabung Reaksi 20 mm X 125 mm Iwaki | 1 | pcs
662.8 | Tabung Reaksi 25 mm X 200 mm Iwaki | 1 | pcs
663.95 | Tds Meter digital (Alat Ukur Kualitas Air) | 1 | pcs
665.1 | Tensi meter Digital Omron Hem-7111 | 1 | pcs
666.25 | Tensimeter Analog Jarum | 1 | pcs
667.4 | Termometer Alkohol -10-110 C | 1 | pcs
668.55 | Termometer Alkohol 150 C | 1 | pcs
669.7 | Termometer Badan Digital | 1 | pcs
670.85 | Termometer Dinding | 1 | pcs
672 | Termometer Fahrenheit 230 F | 1 | pcs
673.15 | Termometer Polos / Tanpa Skala | 1 | pcs
674.3 | Termometer Digital Infrared 550 | 1 | pcs
675.45 | Termometer Digital CE For Kitchen | 1 | pcs
676.6 | Termometer Infrared Digital KDP (Termometer Gun Digital) | 1 | pcs
677.75 | Timbangan Berat Badan Analog | 1 | pcs
678.9 | Timbangan Berat Badan Dan Tinggi | 1 | pcs
680.05 | Timbangan Berat Badan Digital | 1 | pcs
681.2 | Timbangan Meja 100 gr | 1 | pcs
682.35 | Timbangan Bayi Sella | 1 | unit
683.5 | Timbangan Dapur Digital | 1 | pcs
684.65 | TImbangan Digital Ketelitian 1 gram - Camry | 1 | pcs
685.8 | Timbangan Obat 50 gr - Lemari Kaca (Termasuk 3 set anak) | 1 | Set
686.95 | Kit Uji Formalin - 50 Test (Food Test Kit) | 1 | Set
688.1 | Kit Uji Formalin - 100 Test (Food Test Kit) | 1 | Set
689.25 | Kit Uji Formalin - 200 Test (Food Test Kit) | 1 | Set
690.4 | Kit Uji Amonia - 50 Test (Water Test Kit) | 1 | Set
691.55 | Kit Uji Amonia - 100 Test (Water Test Kit) | 1 | Set
692.7 | Kit Uji Amonia - 200 Test (Water Test Kit) | 1 | Set
693.85 | Kit Uji Borax - 50 Test (Food Test Kit) | 1 | Set
695 | Kit Uji Borax - 100 Test (Food Test Kit) | 1 | Set
696.15 | Kit Uji Borax - 200 Test (Food Test Kit) | 1 | Set
697.3 | Kit Uji Methanyl Yellow - 50 Test (Food Test Kit) | 1 | Set
698.45 | Kit Uji Methanyl Yellow - 100 Test (Food Test Kit) | 1 | Set
699.6 | Kit Uji Methanyl Yellow - 200 Test (Food Test Kit) | 1 | Set
700.75 | Kit Uji Rhodamin B - 50 Test (Food Test Kit) | 1 | Set
701.9 | Kit Uji Rhodamin B - 100 Test (Food Test Kit) | 1 | Set
703.05 | Kit Uji Rhodamin B - 200 Test (Food Test Kit) | 1 | Set
704.2 | Kit Uji Chlorida - 50 Test (Water Test Kit) | 1 | Set
705.35 | Kit Uji Chlorida - 100 Test (Water Test Kit) | 1 | Set
706.5 | Kit Uji Chlorida - 200 Test (Water Test Kit) | 1 | Set
707.65 | Kit Uji Mercury - 50 Test (Food Test Kit) | 1 | Set
708.8 | Kit Uji Mercury - 100 Test (Food Test Kit) | 1 | Set
709.95 | Kit Uji Mercury - 200 Test (Food Test Kit) | 1 | Set
711.1 | Kit Uji Kualitatif Siklamat - 50 Test (Food Test Kit) | 1 | Set
712.25 | Kit Uji Kualitatif Siklamat - 100 Test (Food Test Kit) | 1 | Set
713.4 | Kit Uji Kualitatif Siklamat - 200 Test (Food Test Kit) | 1 | Set
714.55 | Kit Uji Siklamat 0-100mg/L - 50 Test (Food Test Kit) | 1 | Set
715.7 | Kit Uji Siklamat 0-100mg/L - 100 Test (Food Test Kit) | 1 | Set
716.85 | Kit Uji Siklamat 0-100mg/L - 200 Test (Food Test Kit) | 1 | Set
718 | Kit Uji Pork Detection - 50 Test (Food Test Kit) | 1 | Set
719.15 | Kit Uji Pork Detection - 100 Test (Food Test Kit) | 1 | Set
720.3 | Kit Uji Pork Detection - 200 Test (Food Test Kit) | 1 | Set
721.45 | Kit Uji Ayam Tiren - 50 Test (Food Test Kit) | 1 | Set
722.6 | Kit Uji Ayam Tiren - 100 Test (Food Test Kit) | 1 | Set
723.75 | Kit Uji Ayam Tiren - 200 Test (Food Test Kit) | 1 | Set
724.9 | Kit Uji Plumbum - 50 Test (Food Test Kit) | 1 | Set
726.05 | Kit Uji Plumbum - 100 Test (Food Test Kit) | 1 | Set
727.2 | Kit Uji Plumbum - 200 Test (Food Test Kit) | 1 | Set
728.35 | Kit Uji Selenium - 50 Test (Food Test Kit) | 1 | Set
729.5 | Kit Uji Selenium - 100 Test (Food Test Kit) | 1 | Set
730.65 | Kit Uji Selenium - 200 Test (Food Test Kit) | 1 | Set
731.8 | Kit Uji Iron - 50 Test (Water Test Kit) | 1 | Set
732.95 | Kit Uji Iron - 100 Test (Water Test Kit) | 1 | Set
734.1 | Kit Uji Iron - 200 Test (Water Test Kit) | 1 | Set
735.25 | Kit Uji Mangan - 50 Test (Water Test Kit) | 1 | Set
736.4 | Kit Uji Mangan - 100 Test (Water Test Kit) | 1 | Set
737.55 | Kit Uji Mangan - 200 Test (Water Test Kit) | 1 | Set
738.7 | Kit Uji Arsenik - 50 Test (Water Test Kit) | 1 | Set
739.85 | Kit Uji Arsenik - 100 Test (Water Test Kit) | 1 | Set
741 | Kit Uji Arsenik - 200 Test (Water Test Kit) | 1 | Set
742.15 | Kit Uji Sianida - 50 Test (Water Test Kit) | 1 | Set
743.3 | Kit Uji Sianida - 100 Test (Water Test Kit) | 1 | Set
744.45 | Kit Uji Sianida - 200 Test (Water Test Kit) | 1 | Set
745.6 | Kit Uji Nitrit - 50 Test (Water Test Kit) | 1 | Set
746.75 | Kit Uji Nitrit - 100 Test (Water Test Kit) | 1 | Set
747.9 | Kit Uji Nitrit - 200 Test (Water Test Kit) | 1 | Set
749.05 | Kit Uji Nitrat - 50 Test (Water Test Kit) | 1 | Set
750.2 | Kit Uji Nitrat - 100 Test (Water Test Kit) | 1 | Set
751.35 | Kit Uji Nitrat - 200 Test (Water Test Kit) | 1 | Set
752.5 | Kit Uji Fosfat- 50 Test (Water Test Kit) | 1 | Set
753.65 | Kit Uji Fosfat- 100 Test (Water Test Kit) | 1 | Set
754.8 | Kit Uji Fosfat- 200 Test (Water Test Kit) | 1 | Set
755.95 | Tes Uji Pestisida 5 tes per pak | 1 | pak
757.1 | Turbidimeter | 1 | pcs
758.25 | Vasculum | 1 | pcs
759.4 | Wastafel double Berpindah | 1 | pcs
760.55 | Wastafel Single Berpindah | 1 | pcs
#REF!